Medical Device Quality Issue Report – For Use by Industry and Healthcare Professionals

| I - Administrative Information Report Type (select one) Initial : ☐ Follow up : ☐ Final : ☐ Report Category Date of this report: Date of issue identified: Date manufacturer aware: Person Submitting This Report Name: Company: Address: Tel: Fax: E-mail: Identify all other Regulatory Authorities, where this report was also sent: _____________________________________ Description of the Issue | II - Healthcare Facility Information ______________________________________ Name: Address: Tel: Fax: E-mail: Contact name at site at the event: _____________________________________________ III - Device Information (Primary Device) _____________________________________________ Generic Device Information Device WAND number: GMDN Code: GMDN Code Text (eg, catheters, central venous, peripherally inserted): Specific Device Information Brand Name: Model #: Software version: Ser. Or Lot #s: Manufacturer: Contact Name: Address: Tel: Fax: E-mail: _____________________________________________ Operator of Device at Time of Event HCP ☐ Other Caregiver ☐ Patient ☐ N/A ☐ _____________________________________________ Usage of Device Single use : ☐ Reuse of single Use: ☐ Reuse of Reusable: ☐ Re-serviced/Refurbished: ☐ _____________________________________________ Device Disposition/Current Location: |
| --- | --- |

| IV - Results of Manufacturer’s Investigation Manufacturer’s Device Analysis Result (Specify, for this event, details of investigation method, results, and conclusions): Remedial Action/Corrective Action/Preventive Action (Specify if/what action was taken for the reported specific event or products. Include what action was taken to prevent recurrence. Clarify the timeframe for completion of action plans): | V - Other Reporting Information Manufacturer/sponsor aware of other similar events? (number or rate): Country where these similar adverse events occurred: Additional comments: _____________________________________________ Submitting this report: Compliance Management Branch, Medsafe, PO Box 5013, Wellington, 6145. Email: devices@moh.govt.nz |
| --- | --- |

# Guidance on how to complete this form

Please answer every question with an appropriate answer, N/A (not applicable) or N/K (not known at this time).

If some of the applicable information required in this form is not available by the due date for the particular category, a report should be submitted containing all the available information. Such a report should be marked “initial” in Section I.

The form may be filled long-hand or electronically using Word®. The form can then be submitted by mail or saved and attached to an email and sent to devices@moh.govt.nz.This instructions page should not be included in the submission (This section is not protected and may be deleted).

The following provides some guidance on what information is required in some parts of the form. It is envisaged that the fields not mentioned in this explanatory note are self-explanatory.

## Section I – Administrative Information

Report Type, Initial: The first report that the reporter (sponsor, manufacturer) is submitting about an event. The reporter expects to have to submit further information about the event at a later date.

Report Type, Follow-up: Additional information to a previous (initial, follow-up or final) report.

Report Type, Final: The last report that the reporter expects to submit about an event. It is possible for the final report to also be the initial report about an event. If so, please indicate by crossing both boxes.

## Section III - Device Information

WAND number#: The WAND number assigned to the device

GMDN Code & Text: Global Medical Device Nomenclature (GMDN) Code and explanatory text, (eg, 40589 – clamp, surgical tubing, single use).

Mfr name: Name of manufacturer

Device Disposition/Current Location: Where and in what state the device is at the time of the report – eg, destroyed/lost or with manufacturer undergoing testing, or with original reporter, etc.

## Section V - Other Reporting Information

Mfr/Sponsor aware of other similar events? (# or rate): If there have been other similar events reported to either the sponsor or the manufacturer enter the number or rate. The rate should preferably be provided in the form of an incidence rate, for example: 0.4%, the number should include the number sold, for example, 12 of 3,000 units sold over two years in New Zealand or 25 of 5 million units sold over 5 years worldwide. If none, write “0” or “nil”.

When submitting a final report this section must be completed. This information will be requested if it is not provided at the time of the final report.